## Slide 1
Project 5: Manufacturing of IoT Sensors: UV & Electrochemical REU Students: Tolga Koc & Celine Ramirez
Graduate Mentor(s): Arshya Bamshad & Pawan Pathak Faculty Mentor(s): Dr. Hyoung Jin Cho & Dr. Ladislau Bölöni
  Week 3 (June 1st - June 4th, 2021)
  Accomplishments:
  Learning Configuration of Various Cells
  Learning more about Electrochemistry
  Finished Circuit for Electrochemical Sensor
  Able to Output Data directly to Arduino
  Problem & Solutions
  Need to calculate all voltage drops, capacitance, etc. (Kirchhoff's Law & Ohm’s Law) to get correct output of data
  Circuit gave different voltage outputs
  A lot of noise in data.
  Solution: Use Resolution Bits to calibrate sensor for meaningful data
  Solution: Test each individual cell to make sure there was no damage in cell (There was)
  Solution: Replace Damaged Cells
  Solution: Solder Circuit onto a Certified Breadboard
  Plans for next week:
  Run Circuit using certified Breadboard
  Transfer Circuit over to PCB Board for Device
NSF REU Research Experience on Internet of Things 2021

## Slide 2
Cells & Pin Layouts
NSF REU Research Experience on Internet of Things 2021
ICL7660-Voltage Converter
UA741- Single Operational Amplifier
LM324- Quad Operational Amplifier

## Slide 3
Circuit Layout
NSF REU Research Experience on Internet of Things 2021
Legend:
ICL7660:
LM324:
UA741:

## Slide 4
NSF REU Research Experience on Internet of Things 2021
Case
Data(Resolution Bits)
Time(s)
Current (μA)
Chronoamperometry Code and Data Collection